## Panel
Appliance | Watts | Quantity | Sub Total
Furnace Fan 1/3 hp | 900 | 1 | 900
Bathroom Fan 1/2 hp | 1200 | 3 | 3600
Kitchen Fan 1/3 hp | 900 | 1 | 900
Dishwasher | 1200 | 1 | 1200
Clothers Dryer | 5000 | 1 | 5000
Clothers Wash Machine | 1200 | 1 | 1200
Hot Water Heater | 4500 | 1 | 4500
Each Outlet | 180 | 24 | 4320
Range (cook top and oven) | 12000 | 1 | 12000
Oven | 4500 | 0 | 0
Cook Top | 6000 | 0 | 0
Refregerator | 900 | 1 | 900
Microwave | 750 | 1 | 750
Freezer | 300 | 1 | 300
Security System | 500 | 1 | 500
Air Conditioner (per ton) | 1200 | 2 | 2400
|  | Grand Total | 38470 | watts
|  | 100% | 10000
|  | 40% | 11388
|  |  | 21388 | watts
|  | 240 Volts | 89.1167 | amps
|  | Therefore | 100 | amp panel

## Data
| Appliances | Approximate Load (Watts)
|  | Low | High
General Lighting
| Lamps | 25 | 100
| Tube Lights | 36 | 40
| Incandescent bulb | 100
| Compact fluorescent bulb | 20
| Outdoor lights, buglight | 100
| Outdoor lights, flood/spot | 150
| Outdoor lights, lamp post | 100
| Outdoor lights, porch light | 75
Heating Appliances
| Electric Iron | 600 | 1500
| Immersion Heater | 1000 | 2000
| Water Heater | 1000 | 2000
| Toaster | 750
| Roam Heater | 1000 | 2000
| Owen | 2000 | 3000
| Microwave | 1000
Cooling and Air Quality
| Refrigerator(165 litres) | 150
| Refrigerator(210 litres) | 270
| Window air-conditioner | 1000
| Table/ Ceiling fan | 60 | 100
| Exhaust Fan | 150
| Dehumidifier | 500
| Heater, portable | 1500
| Humidifier | 200
Office Equipment
| Desktop PC | 200
| Desktop PC Monitor | 80
| Laptop | 25 | 30
| Inkjet Printer | 40 | 80
| Laser Printer | 90 | 130
| Copy Printer | 160 | 200
| Fax Machine | 30 | 40
| Photocopier | 120 | 1000
| Digital Projector | 205
General Equipment
| Washing Machine | 700
| Radio | 40
| CRT Large TV | 200
| LCD Large TV | 130
| Plasma TV | 300
| DVD Player | 15
| Domestic Wireless Router | 7 | 10
| Games Console | 50
Kitchen Appliances
| Blender | 300
| Blender | 680
| Can opener | 100
| Coffeemaker | 800
| Cooktop/range | 1675
| Dishwasher, heated dry cycle | 1200
| Dishwasher, heated dry cycle | 200
| Food processor | 350
| Freezer (approx. 16 cu. Ft.) | 375
| Frying pan/skillet | 600
| Fryer, deep fat | 1500
| Garbage disposal | 440
| Griddle | 1200
| Ice cream maker | 150
| Ice crusher | 100
| Microwave oven | 1400
| Mixer, hand-held | 100
| Mixer, stand | 150
| Oven (electric) | 4000
| Popcorn popper | 575
| Refrigerator/freezer, dorm size | 350
| Refrigerator/freezer, standard | 700
| Roaster | 1425
| Rotisserie | 1400
| Toaster oven | 1500
| Toaster, two-slice | 1100

## Ideas
How many watts am I using?
Version 2.0
Appliance | Watts | hours per month | cost per kWh |  |  | graphical representation |  |  |  |  | size of panel |  | Switching to LED Builbs
|  |  | low | mid | high | coal | oil | nuclear | wind | solar | 120 | 240 | 20 | 12 | 6 | Cost Savings

## Energy Generation
Type | Unit | kWh | Math
Barrel of Oil | 1 | 1628.2
Wind Turbine | 1 | 375 | 3285000 | kWh/a
Nuclear | 1 (1000MW) | 1000000 | 8760000000 | kWh/a
Coal | 1 (ton) | 1870 | 2460
Natural Gas | 1 (1000cuf) | 125

## NS Power
Lighting
|  | # of |  | Hours |  | kWh | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Lighting - Ceiling Fixture, (3*60W bulbs) | 180 | 6 | x | 8 | = | 8.64 | 259.2 |  |  | Custom Dropdown | x | hours
4 foot fluorescent lighting, (2 tube 4 ft) | 100 | 1 | x | 1 | = | 0.1 | 3 |  |  | Custom Dropdown | x | hours
Chandelier, (5 lamp) | 300 | 1 | x | 1 | = | 0.3 | 9 |  |  | Custom Dropdown | x | hours
Table Lamp | 100 | 1 | x | 1 | = | 0.1 | 3 |  |  | Custom Dropdown | x | hours
CFL, (to replace a 60W incandescent) | 13 | 1 | x | 1 | = | 0.013 | 0.39 |  |  | Custom Dropdown | x | hours
Incandescent | 60 | 1 | x | 1 | = | 0.06 | 1.8 |  |  | Custom Dropdown | x | hours
Kitchen |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Microwave | 1000 | 1 | x | 1 | = | 1 | 30 |  |  | Custom Dropdown | x | hours
Coffee-Maker | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
Kettle | 1250 | 1 | x | 1 | = | 1.25 | 37.5 |  |  | Custom Dropdown | x | hours
Toaster (2 slice) | 930 | 1 | x | 1 | = | 0.93 | 27.9 |  |  | Custom Dropdown | x | hours
Dishwasher, (excluding Heat dry) | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
Dishwasher, (excluding Air Dry) | 900 | 1 | x | 1 | = | 0.9 | 27 |  |  | Custom Dropdown | x | hours
Blender | 500 | 1 | x | 1 | = | 0.5 | 15 |  |  | Custom Dropdown | x | hours
Electric Frying pan | 1500 | 1 | x | 1 | = | 1.5 | 45 |  |  | Custom Dropdown | x | hours
Toaster Oven | 1500 | 1 | x | 1 | = | 1.5 | 45 |  |  | Custom Dropdown | x | hours
Deep Fat Fryer | 1500 | 1 | x | 1 | = | 1.5 | 45 |  |  | Custom Dropdown | x | hours
Breadmaker | 575 | 1 | x | 1 | = | 0.575 | 17.25 |  |  | Custom Dropdown | x | hours
Food Processor | 480 | 1 | x | 1 | = | 0.48 | 14.4 |  |  | Custom Dropdown | x | hours
Bottled water Cooler | 140 | 1 | x | 1 | = | 0.14 | 4.2 |  |  | Custom Dropdown | x | hours
Food Waste disposer | 445 | 1 | x | 1 | = | 0.445 | 13.35 |  |  | Custom Dropdown | x | hours
Waffle Iron/Sandwich Grill | 1100 | 1 | x | 1 | = | 1.1 | 33 |  |  | Custom Dropdown | x | hours
Two Burner Hot plate | 1250 | 1 | x | 1 | = | 1.25 | 37.5 |  |  | Custom Dropdown | x | hours
Electric Range Self Cleaning, (greater then 20 years old) | 66kWh/month |  |  |  | = |  |  |  |  | Custom Dropdown | Type | Quantity
Electric Range Self Cleaning, (less then 20 years) | 61.75 kWh/month |  |  |  | =
Electric Range Non Self Cleaning | 65 kWh/month |  |  |  | =
Refrigerators (Old = pre 1990 New = post 1990) |  | Old | New | Energy | kWh |  | 2 month | Annual
|  |  |  | Star | /month |  | cost | Total |  | Input Type | Col 1 | Col 2 | Col 3
Chest Freezer, manual defrost, 16 cu.ft. |  | 86 | 35 | 30 | [5 empty] | Custom Dropdown | Type | Old/New/Energy Star | Quantity | Max 3
Upright Freezer, frost-free, 18-20 cu.ft. |  | 143 | 91 | 50 | [6 empty] | Type | Old/New/Energy Star | Quantity
Compact Refrigerator, less than 2 cu.ft. |  | 71 | 49 | 25 | [6 empty] | Type | Old/New/Energy Star | Quantity
Refrigerator, Top Freezer, manual defrost, 10 cu.ft. |  | 77 | 63 | 27
Refrigerator, Top Freezer, manual defrost, 18-20 cu.ft. |  | 97 | 95 | 40
Refrigerator, Top Freezer, frost-free, 18-20 cu.ft. |  | 128 | 91 | 36
Refrigerator, Top Freezer, manual defrost, 24-26 cu.ft. |  | 114 | 107 | 40
Refrigerators, Bottom Freezer, frost-free, 20-22 cu.ft. |  | 114 | 107 | 40
Refrigerators, Side-by-Side, frost-free, 22-24 cu.ft |  | 140 | 117 | 49
Refrigerators, Side-by-Side, frost-free, 28-30 cu.ft |  | 151 | 130 | 53
Bathroom |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Bathroom Ventilation Fan | 75 | 1 | x | 1 | = | 0.075 | 2.25 |  |  | Custom Dropdown | x | hours
Electric Razor | 15 | 1 | x | 1 | = | 0.015 | 0.45 |  |  | Custom Dropdown | x | hours
Handheld Hair Dryer | 1500 | 1 | x | 1 | = | 1.5 | 45 |  |  | Custom Dropdown | x | hours
Whirlpool Bath | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
HeatLamp (infrared) | 350 | 1 | x | 1 | = | 0.35 | 10.5 |  |  | Custom Dropdown | x | hours
Hot Tub | 330 | 2hr/wk | 12 | [6 empty] | Custom Dropdown | x | hours
|  | 4hr/wk | 24
|  | 6hr/wk | 36
|  | 8hr/wk | 48
|  | 10hr/wk | 60
Family Room |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Plasma Television, approx. 40" | 328 | 1 | x | 1 | = | 0.328 | 9.84 |  |  | Custom Dropdown | x | hours
LCD Television, approx. 40" | 200 | 1 | x | 1 | = | 0.2 | 6 |  |  | Custom Dropdown | x | hours
Cable TV Box | 25 | 1 | x | 1 | = | 0.025 | 0.75 |  |  | Custom Dropdown | x | hours
Satellite Dish System | 100 | 1 | x | 1 | = | 0.1 | 3 |  |  | Custom Dropdown | x | hours
PlayStation 3 | 197 | 1 | x | 1 | = | 0.197 | 5.91 |  |  | Custom Dropdown | x | hours
Xbox 360 | 187 | 1 | x | 1 | = | 0.187 | 5.61 |  |  | Custom Dropdown | x | hours
Wii | 29 | 1 | x | 1 | = | 0.029 | 0.87 |  |  | Custom Dropdown | x | hours
Computer |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Wireless router | 7 | 1 | x | 1 | = | 0.007 | 0.21 |  |  | Custom Dropdown | x | hours
Desktop (no monitor) | 100 | 1 | x | 1 | = | 0.1 | 3 |  |  | Custom Dropdown | x | hours
Laptop | 30 | 1 | x | 1 | = | 0.03 | 0.9 |  |  | Custom Dropdown | x | hours
typical 17" CRT monitor | 80 | 1 | x | 1 | = | 0.08 | 2.4 |  |  | Custom Dropdown | x | hours
typical 17" LCD monitor | 35 | 1 | x | 1 | = | 0.035 | 1.05 |  |  | Custom Dropdown | x | hours
Major Household Items |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Clothes Washer (excluding) | 600 | 1 | x | 1 | = | 0.6 | 18 |  |  | Custom Dropdown | x | hours
Clothes Dryer | 5000 | 1 | x | 1 | = | 5 | 150 |  |  | Custom Dropdown | x | hours
Sewing Machine | 115 | 1 | x | 1 | = | 0.115 | 3.45 |  |  | Custom Dropdown | x | hours
Furnace Burner & Pump | 475 | 1 | x | 1 | = | 0.475 | 14.25 |  |  | Custom Dropdown | x | hours
Humidifier (portable) | 175 | 1 | x | 1 | = | 0.175 | 5.25 |  |  | Custom Dropdown | x | hours
Oil furnace Burner | 260 | 1 | x | 1 | = | 0.26 | 7.8 |  |  | Custom Dropdown | x | hours
Stereo | 200 | 1 | x | 1 | = | 0.2 | 6 |  |  | Custom Dropdown | x | hours
Electric Water Heater | 4500 | 1 | 131 | [6 empty] | Custom Dropdown | Number of People
|  | 2 | 262
|  | 3 | 393
|  | 4 | 524
|  | 5 | 628
|  | 6 | 786
Furnace Fan | 350 | 1 | x | 1 | = | 0.35 | 10.5 |  |  | Custom Dropdown | x | hours
Vacuum Cleaner (portable) | 1440 | 1 | x | 1 | = | 1.44 | 43.2 |  |  | Custom Dropdown | x | hours
Vacuum Cleaner (central) | 1482 | 1 | x | 1 | = | 1.482 | 44.46 |  |  | Custom Dropdown | x | hours
Dehumidifier | 250 | 1 | x | 1 | = | 0.25 | 7.5 |  |  | Custom Dropdown | x | hours
Room air conditioner, (6000 BTU/hour) | 667 | 1 | x | 1 | = | 0.667 | 20.01 |  |  | Custom Dropdown | x | hours
Room air conditioner, (9000 BTU/hour) | 900 | 1 | x | 1 | = | 0.9 | 27 |  |  | Custom Dropdown | x | hours
Alarm system | 3000 |  |  |  | = |  |  |  |  | Check Box
Air Changer | 3000 |  |  |  | = |  |  |  |  | Check Box
Outdoor |  | # of | Hours |  |  |  | kWh | 2 month | Annual
|  | items | per day |  |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Electric BBQ | 1600 | 1 | x | 1 | = | 1.6 | 48 |  |  | Custom Dropdown | x | hours
Car Block Heater | 500 | 1 | x | 1 | = | 0.5 | 15 |  |  | Custom Dropdown | x | hours
Drill | 300 | 1 | x | 1 | = | 0.3 | 9 |  |  | Custom Dropdown | x | hours
Hedge Trimmer | 300 | 1 | x | 1 | = | 0.3 | 9 |  |  | Custom Dropdown | x | hours
Electric Lawnmower | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
Pool Pump 1.5 hp. high efficiency (Months per Year) | 46 | 1 | 0.83 | [6 empty] | Custom Dropdown | Months | Hours per day
|  | 2 | 0.163
|  | 3 | 0.25
|  | 4 | 0.33
|  | 5 | 0.417
|  | 6 | 0.5
|  | 7 | 0.583
|  | 8 | 0.67
|  | 9 | 0.75
|  | 10 | 0.83
|  | 11 | 0.917
|  | 12 | 1
Water Pump (1/3 hp) | 420 | 1 | x | 1 | = | 0.42 | 12.6
Power Saws |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Saber Saw | 400 | 1 | x | 1 | = | 0.4 | 12 |  |  | Custom Dropdown | x | hours
Circular Saw (7.25") | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
Table saw or Radial Arm saw (10") | 1800 | 1 | x | 1 | = | 1.8 | 54 |  |  | Custom Dropdown | x | hours
Reciprocating Saw | 750 | 1 | x | 1 | = | 0.75 | 22.5 |  |  | Custom Dropdown | x | hours
Electric Chain Saw (12") | 440 | 1 | x | 1 | = | 0.44 | 13.2 |  |  | Custom Dropdown | x | hours
Christmas Lights |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total |  | Col 1 | Col 2
Outdoor large bulbs, 25 bulbs (1 string) | 125 | 1 | x | 1 | = | 0.125 | 3.75 |  |  | Custom Dropdown | x | hours
Mini Lights (incandescent), 100 bulbs (1 string) | 40 | 1 | x | 1 | = | 0.04 | 1.2 |  |  | Custom Dropdown | x | hours
LED lights, 35 bulbs (1 string) | 3.5 | 1 | x | 1 | = | 0.0035 | 0.105 |  |  | Custom Dropdown | x | hours
Miscellaneous |  | # of |  | Hours |  |  | kWh | 2 month | Annual
|  | items |  | per day |  |  | /month | cost | Total | Input Type | Col 1 | Col 2
Air Cleaner - Desktop | 50 | 1 | x | 1 | = | 0.05 | 1.5 |  |  | Custom Dropdown | x | hours
Aquarium (10 - 24 gal.) | 72 | 1 | x | 1 | = | 0.072 | 2.16 |  |  | Check Box
Fan (portable) | 75 | 1 | x | 1 | = | 0.075 | 2.25 |  |  | Custom Dropdown | x | hours
Iron (hand) | 1200 | 1 | x | 1 | = | 1.2 | 36 |  |  | Custom Dropdown | x | hours
Portable Radio | 50 | 1 | x | 1 | = | 0.05 | 1.5 |  |  | Custom Dropdown | x | hours
Portable Electric Heater | 1000 | 1 | x | 1 | = | 1 | 30 |  |  | Custom Dropdown | x | hours
Electric Sauna | 6000 | 1 | x | 1 | = | 6 | 180 |  |  | Custom Dropdown | x | hours
Water Bed Heater | 375 | 1 | x | 1 | = | 0.375 | 11.25 |  |  | Custom Dropdown | x | hours
Electric Blanket | 175 | 1 | x | 1 | = | 0.175 | 5.25 |  |  | Custom Dropdown | x | hours
Calculate | [6 empty] | kWh | 2 month | Annual
[7 empty] | /month | cost | Total
Usage (kWh) |  |  |  |  | = |  |  |  |  | 78 | Custom Dropdown
TOTAL ENERGY CHARGES |  |  |  |  | = |  |  |  |  | 3 | Check Box
HST |  |  |  |  | = |  |  |  |  | 11 | Categories (List Items)
Calculate Total |  |  |  |  | =

## Carbon Footprint
CO2 emmission |  | http://www.carbonindependent.org/
0.527 | kg / kWh
EXAMPLE
3000 | kWh
1.581 | tonnes CO2